VSD REFRIGERATED AIR DRYER

Introduction

The VSD Refrigerated Air Dryer uses a variable speed drive (VSD) compressor and electronic expansion valve to match cooling capacity to the actual heat load in real time. By automatically adjusting operating frequency (30~90/120Hz), it maintains a stable dew point without unnecessary overcooling, cutting energy consumption significantly.

Standard Working Condition

| Inlet Temperature | 45 ℃ |
| --- | --- |
| Inlet Pressure | 0.7 MPa |
| Ambient Temperature (Air-cooled) | 38 ℃ |
| Cooling Temperature (Water-cooled) | 32 ℃ |
| Outlet Dew Point | 7 ℃ |
| Inlet-Outlet Pressure Drop | 0.015 MPa |
| Operating Frequency | 30~90 / 120 Hz |

Product Features

Enhanced pre-cooling, reduced refrigeration demand — Countercurrent flow heat exchange with small temperature difference between inlet and outlet increases the pre-cooling area and reduces the evaporative cooling capacity.

Linked load, real-time precise frequency control — Through real-time monitoring of the target temperature, the unit judges the load situation and adjusts frequency accordingly. Wide range adjustment achieves accurate frequency matching across the full flow range.

Increase the airway, reduce the flow resistance — By increasing the cross-sectional area for fluid flow, the internal flow velocity is reduced, achieving a lower pressure drop. This enables better gas-water separation and prevents blockages in the airway caused by foreign objects.

Non-destructive drainage, reduce system gas consumption — Large caliber zero gas drain, large displacement, not easy to plug, and no gas loss.